## Slide 1: Digitalizacija kao odgovor na savremene izazove u sistemima daljinskog grejanja
Filip Žardin,
Danfoss d.o.o.

## Slide 2: Danfoss kdo smo?
Svetovna prodaja
v več kot 100
državah
Trije močni poslovni segmenti z vodilnim položajem na trgu
Power Solutions
Climate Solutions
Power Electronics and Drives
Vodilni tehnološki partner za naše stranke, ki želijo razogljičiti svoje poslovanje z energetsko učinkovitostjo, produktivnostjo strojev, nizkimi emisijami in elektrifikacijo
+42,000
Zaposleni po vsem svetu.
Ljudje so temelj našega poslovanja
Na dobri poti do ogljične nevtralnosti do leta 2030
97
Proizvodnih enot v več kot 20 državah
1933
Dolge izkušnje na področju inovacij in inženiringa

## Slide 3: Danfoss d.o.o. ko smo mi?
Prisutni poslovni segmenti
Climate Solutions
Power Electronics and Drives
33
Zaposlenih u Srbiji
1997
Danfoss kancelarija u Beogradu počela je sa radom pre 28 godina
Danfoss d.o.o.
Đorđa Stanojevića 12
11000 Beograd
Tel: 060/2098559
mail: filip.zardin@danfoss.com
Danfoss Climate Solutions
District Energy
Buildings Solutions
Danfoss District Energy segment
Prodaja opreme
Konceptualna rešenja
Tehnička podrška
Izbor i specifikacija opreme
Pomoć pri puštanju u rad
Treninzi i obuke
Filip Žardin

## Slide 4: Tri posebna poslovna segmenta sa stalnim rastom
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 38 | 19
19%
of Group sales
4,582 zaposlenih
9 fabrika u 7 zemalja
1.4mlrd EUR godišnji promet
Danfoss Power Electronics and Drives
#2 pozicija na tržištu
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 57
43%
of Group sales
19,061 zaposlenih
53 fabrika u 19 zemalja
3.2bn EUR godišnji promet
Danfoss Power Solutions
#2 pozicija na tržištu
38%
of Group sales
11,235 zaposlenih
34 fabrike u 15 zemalja
2.9 mlrd EUR godišnji promet
Danfoss Climate Solutions
#2 pozicija na tržištu
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 38 | 19

## Slide 5
Obnovljivih izvora i
Viškova energije
Niskotemperaturnih režima
Od fosilnih goriva do…
Od visokotemperaturnih režima do…
Više izvora
Od pojedinačnih izvora do…
Trendovi u sektoru daljinskog grejanja- 4G

## Slide 6
Trendovi u sektoru daljinskog grejanja – 4G
Trend rasta OIE do 2050 godine
Chart: 
| 2020 | 2030 | 2040 | 2050
 | 0.02 | 0.25 | 0.45 | 1
Cilj: do 2050 godine fosilna goriva zameniti obnovljivim izvorima energije
Udeo OIE u Srbiji
ALTERNATIVNI i oie : BIOMASA, HIDROPOTENCIJAL, SUNČEVA ENERGIJA, ENERGIJA VETRA, GEOTERMALNA ENERGIJA, OTPADNA TOPLOTA
Chart: 
| Biomasa 63% | Hidropotencijal 14% | Sunčeva energia 14% | Energija vetra 5% | Geotermalna energija 4%
 | 0.63 | 0.14 | 0.14 | 0.05 | 0.04

## Slide 7
U energetici je planiranje proizvodnje i potrošnje veoma važno
Intermitentnost / nepredvidivost OIE
Održavanje stabilnosti sistema
Planiranje proizvodnje i potrošnje
Delta T optimizacija – ekonomski
balans temperature i protoka
Visok nivo automatizacije
Troškovi investicije /CAPEX / OPEX
Izazovi u sektoru daljinskog grejanja – 4G

## Slide 8
Leanheat Building
Leanheat Monitor + TITAN
Live praćenje podataka i preventivno održavanje
Automatsko puštanje u rad o kontinualna optimizacija
Virtual Heat Storage (VHS)
Alati za nadzor & optimizaciju
Leanheat Production
Smanjivanje pikova potrošnje/ Optimizacija potrošnje
Geotermalna energija
Industrijska otpadna toplota
Tretman otpadnih i kanalizacionih voda
Sezonska skladišta toplote
Otpadna toplota iz data centara
DG povratna cev
Razmenjivači toplote
Oil-free Toplotne pumpe
Max. Temoerature 67°C (75°C）
Scenarijia sa velikim ΔT pogoduju mrežama daljinkosg grejanja
Leanheat Production
Leanheat Network
Optimizacija razvodne temperature u mrežama DG
ΔP optimizacija u mreži / Snižavanje troškova pumpanja i poboljašanje dT
Alati za daljinski nadzor & optimizaciju
Leanheat Monitor
Kalkulacija najboljeg ekonsmskog miksa energije
Primarna mreža daljinskog grejanja
Visoko kvalitetne loptaste slavine
Senzori
Optimizacija mreže
Sekundarna mreža/razmenjivači toplote
Kompaktne toplotne podstanice
Hidraulički portfolio
Regulacija podstanica
Hidroenergija
Vetrogeneratori
Solarni paneli
Viškovi električne energije
Kompleksnost savremenih sistema daljinskog grejanja
Rešenja za unutrašnje grejanje
Stanske stanice
Rešenja za radijatosko grejanje, fan-coil-e i podno grejanje
Meterenje utroška energije
Hidrauličko balansiranje
Notes: Together with heat pumps, Danfoss provides a complete range of advanced solutions and products, from production and distribution to final consumption. This includes software solutions for modeling, designing and optimizing district heating systems.

## Slide 9
Prikuplanje i čuvanje podataka sa senzora i merila toplotne energije u cilju prognoze opterećenja (load forecasting)
Prikupljanje I čuvanje podataka o temperature u prostoru I korišćenje termičkog kapaciteta zgrade radi predvižanja toplotnog opterećenja i uštede na pikovima opterećenja
„Pametne“ i energetski
efikasne zgrade
Optimizacija proizvodnih izvora I razvodne tempere čime je osiuranoa najekonomičnije upravljanje
Upravljanje različitim energetskim izvorima, management OIE i otpadnom toplotom
U slučaju CHP povećati proizvodnju struje onda kad je ekonomski najisplativije
Optimalno korišćenje skladišta toplotne energije
Kalkulacija optimalnog „Energy miksa“
Intelligentno upravljanje izvorima
Digitalna transformacija daljinskog grejanja
Zašto? Kad? Gde? Kako?
Poboljšana kontrola temperature, pritiska i protoka – u realnom vremenu i daljinski
Poznavanje transportnog vremena, gubitaka toplote, itd.
Optimizacija distribucije energije sa samopodešavanjem (auto-commissioning) i kontinualna optimizacija rada toplotnih podstanica
Optimal network design, simulation
Prediktivno održavanje; redukcija operativnih troškova i troškova održavanja i produženi životni vek opreme.
Algoritam zasnovan na veštačkoj inteligenciji predviđa moguće kvarove u sistemu , npr na izmenjivaču toplote i osigurava korekcije u radu sistema
Optimalna distribucija

## Slide 10
DEN pregled rešenja End-2-end optimizacija
Leanheat® Production
Renewable energy sources
Leanheat® Network
Heating production
Villa substation
Multi-family substation
Micro Plate™ heat exchanger
Sono® ultrasonic energy meter
Commercial building substation
ECL Comfort controller
Leanheat® Monitor
Virtus heavy-duty pressure and flow controller
Scan to visit Leanheat.danfoss.com
Scan to visit ECL.danfoss.com
Scan to visit substations.danfoss.com

## Slide 11
Leanheat® Production
Leanheat® Network
Leanheat® Monitor
Proizvodnja
Distribucija
Monitoring
Predviđanje toplotnog opterećenja
Optimizacija temperature razvodne vode na osnovu statistike
Optimizacija proizvodnje
Planiranje proizvodnje
Projektovanje mreže
Vizuelizacija i „On line“ upravljanje mrežom
Hidrauličko optimizovanje razvodne temperature
Optimizacija pritiska
Nadzor i upravljanje
Laka integracija podataka
Jednostavna ekstrakcija i interpretacija podataka
Integrisanje uređaja sa različitim protokolima
Leanheat® Network
Leanheat® Production
Leanheat® Monitor

## Slide 12
DEN pregled rešenja End-2-end optimization
Leanheat® Production
Renewable energy sources
Leanheat® Network
Heating production
Villa substation
Multi-family substation
Micro Plate™ heat exchanger
Sono® ultrasonic energy meter
Commercial building substation
ECL Comfort controller
Leanheat® Monitor
Virtus heavy-duty pressure and flow controller
Scan to visit Leanheat.danfoss.com
Scan to visit ECL.danfoss.com
Scan to visit substations.danfoss.com

## Slide 13
Regulatori diferencijalnog pritiska i protoka
i-Set
Autonomna funkcija optimizacije podstanice
Poboljšanje rada regulacionog ventila u uslovima smanjenog opterećenja
Sprečavanje nestabilne regulacije
i-Net
Daljinsko podešavanje diferencijalnog pritiska
Optimizacija rada mreže
Optimizacija ogranaka
Optimizacija napora pumpe
Virtus
Virtus heavy-duty pressure and flow controller

## Slide 14
Virtus – Danfoss regulatori pritiska i protoka – pouzdano rešenje sa kompletnim proizvodnim opsegom
Nominalni pritisak PN 16, 25 & 40
Nominalni prečnici DN 65-250

## Slide 15
Multifunkcionalni inteligentni kontroler
2 inovativne fukcije implementirane u jedan proizvod
iSet optimizacija podstanice
iNet optimizacija mreže
Omogućena komunikacija i povezivanje sa različitom opremom
Notes: Multifunctional Intelligent controller- iSET & iNET functions for substation and network optimization, implemented in one product
iSET-Auto stabilization function supports 1 MCV, either AME or AMV
Open communication and connectivity with various equipment -supports analog signal 0-10V/4-20mA and RS 485 Modbus RTU
Feedback signal for operation status

## Slide 16
iSET – Funkcionisanje i algoritam
Funkcionisanje i algoritam
t
t
Δp preko regulacionog ventila
Prag
(MCV pozicija)
Signal od kontrolera
idpMA pritisak
C1
uključeno
isključeno
C2
Novo
Na tržištu od 2023

## Slide 17
iNET - Inteligentno balansiranje mreže
Potencijal kritične tačke u mreži
Dijagram dif.pritiska u mreži
∆p
izvor
∆p
Kritična
tačka
Smanjenje troškova pumpanja štedeći potencijale podešavanjem Δp na stvarnoj kritičnoj tački u stvarnom vremenu
  Daljinsko podešavanje diferencijalnog pritiska na ograncima i krajnjim tačkama
Maksimalizovanje korišćenja akumulirane toplote u mreži i u zgradama
  Poboljšanje stabilnosti distributivna mreže, niži troškovi pumpanja i niže povratne temperatura
Notes: Potential network critical points.
Subject of change due to changing daily or seasonal (summer, winter) conditions, heat-source utilization, etc.

## Slide 18
iNET – Povezivanje sa kontrolerima i SCADA sistemom

## Slide 19
DEN pregled rešenja End-2-end optimization
Leanheat® Production
Renewable energy sources
Leanheat® Network
Heating production
Villa substation
Multi-family substation
Micro Plate™ heat exchanger
Sono® ultrasonic energy meter
Commercial building substation
ECL Comfort controller
Leanheat® Monitor
Virtus heavy-duty pressure and flow controller
Scan to visit Leanheat.danfoss.com
Scan to visit ECL.danfoss.com
Scan to visit substations.danfoss.com

## Slide 20
ECL 310 Comfort
Smart Weather Compensation
Optimizacija grejanja u zgradama optimizovanjem grejne krive korišćenjem veštačke inteligencije
Smart Weather Compensation
ECL Comfort controller

## Slide 21: ECL Comfort 310/296
ECL Comfort 310 nudi najsavremenije opcije za komunikacione interfejse.
Opseg opcija, dostupnih ili putem ugrađenih ili spoljašnjih modula uključuje
Modbus
M-Bus
i USB za potrebe održavanja
Komunikacija sa SCADA sistemom
Namenski kontroler za daljinsko grejanje

## Slide 22
Are you a Danfoss ECL Comfort 310 user?
Connecting your ECL Comfort 310 to Leanheat® Monitor you can get access to Smart Weather Compensation.
ECL regulator sa Smart Weather Compensation (spoljašnja temperatura, kompenzacija osunčanosti i uticaja vetra):
Spoljašnja temperature
Optimizovani setpoint
Niža potrošnja toplotne energije
Spoljašnji senzor temperature
Vremenska prognoza
Optimizacija se postiže komibacijom ECL-a sa naprednom vremenskom prognozom i Leanheat AI bazom podataka.
Leanheat automatski računa optimizovanu ofset vrednost svakih 10 minuta baziranu na realnim podacim vremenske prognoze i vraća je u ECL
Sa SWC, svaki kompatibilni* Danfoss ECL 310 regulator u Leanheat® Monitor-u počinje da koristi podatke o solarnom zračenju, brzini vetra i vlažnosti. SWC funkcioniše te što pravi optimizovanu ofset vrednosti razvodne temperature, omogućavajući vašem ECLu da bolje reaguje na spoljašnje uticaje. Ovo omogućava optimalnu upotrebu energije uz zadržavanje komfora korisnika. SWC je potpuno automatska funkcija i ne zahteva ručna podešavanja od strane korisnika
Potvrđene uštede u energiji potrebnoj za grejanje uz korišćenje SWC su 5-15%. Uštede zavise od nekoliko faktora kao što su karakteristike zgrade, lokalnih vremenskih uslova i konfiguracije postojećeg sistema za grejanje.
Kao deo usluge dobijate mesečno detaljni izveštaj rada svakog ECL310 povezanog na ovaj servis..
*Software version must be 1.42 or higher. The following ECL 310 heating applications are supported: A230, A237, A247, A260, A266, A267, A275, A319, A330, A333, A367, A376, A377, A390, P330, P348, P370.

## Slide 23
Stručni kadar u sistemima daljinskog grejanja, usled nedostaka ljudstva nije u mogućnosti da posveti dovoljno vremena svakom individualnom objetku kako bi se krive grejanja fino podesile.
Smart Weather Compensation je potpuno automatizovano rešenje tza korišćenje napredne prognoze vremena na instalacijama koje koriste ECL regulatore
Barem 5% uštede energije.
Šta je Smart Weather Compensation?

## Slide 24: „End-to-End“ sveobuhvatna optimizacija kao rešenje za integraciju obnovljivih izvora energije u tradicionalne sisteme
Customer engagement
eTRV
(For „MFH“)
Pilot Stage with Customer
(Housing Association)
Return. Temp.
Optimization
Danfoss
‘Solo’
In Development
Heating Control
Spratne stanice
Digital Balancing
NovoCon®
„Digital balancing
Solution“
In the Market
Building Integration
Leanheat
Solution
In the Market
Temperature- and Plant
MentorTM
In the Market
Thermo-hydraulic
Modeling
EnergisTM
In the Market
System Monitoring
EnspireTM
In the Market
Digital Sub-station
TITAN®
In Development
Building Integration
Leanheat®
Building
In the Market
Temperature and Plant
Leanheat®
Production
In the Market
Thermo-hydraulic
Modeling
Leanheat®
Network
In the Market
System Monitoring
Leanheat®
Monitor
In the Market
Daljinsko grejanje
Zgradarstvo

## Slide 25
Hvala na pažnji
  Filip.zardin@danfoss.com
Danfoss Climate Solutions Vaš pouzdan partner Integracija obnovljivih izvora u tradicionalne sisteme daljinskog grejanja